## Biomedical Capex Detail
LHRC — Biomedical Capex Budget FY 2026-27: Utility & Cancer Relevance Assessment
261 items · ₹95.34 Cr total · Strategic assessment for leadership review
# | Equipment | Qty | Location | Cost ₹L | Justification | Utility Classification | Cancer Relevance | Cancer Tag | Commentary
1 | Spine robotic system | 1 | Main OT | 1200 | New requirement | New Capability | LOW/NONE | Complex Care (Non-Onco) | ⚠ High cost, not cancer-aligned — review priority
2 | Biplane Cathlab | 1 | Interventional Radiology | 1100 | New requirement | New Capability | HIGH | Interventional | ✓ Strongly supports cancer/transplant program
3 | Fluroscopy | 1 | Radiology | 400 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other | ⚠ High cost, not cancer-aligned — review priority
4 | Digital X Ray | 2 | Radiology | 400 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | MODERATE | Imaging (Shared)
5 | Digital Microscope | 1 | Histopathology | 300 | New requirement | New Capability | DIRECT | Onco Diagnostics | ✓ Core to cancer transformation — must invest
6 | Heart Lung Machine &Heart Lung Machine | 1 | Cardiac OT | 250 |  | Other/Unspecified | LOW/NONE | Complex Care (Non-Onco) | ⚠ High cost, not cancer-aligned — review priority
7 | Ventilator(Pead +adult) | 10 | MDICU | 250 | New requirement | New Capability | MODERATE | General Clinical
8 | Digital Slide Scaneer | 1 | Histopathology | 250 | New requirement | New Capability | DIRECT | Onco Diagnostics | ✓ Core to cancer transformation — must invest
9 | Tomotherapy Equipment | 1 | Radiotherapy | 230 | New requirement | New Capability | DIRECT | Direct Onco | ✓ Core to cancer transformation — must invest
10 | Intra opertive ultrasound machine | 1 | OT | 220 | New requirement | New Capability | MODERATE | Imaging (Shared)
11 | Ultrasound machine | 2 | Radiology | 200 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | MODERATE | Imaging (Shared)
12 | C -Arm | 1 | Radiology | 200 | New requirement | New Capability | LOW/NONE | General/Other | ⚠ High cost, not cancer-aligned — review priority
13 | Fibroscan | 1 | Gastroenterology | 200 | New requirement | New Capability | LOW/NONE | General/Other | ⚠ High cost, not cancer-aligned — review priority
14 | XI system | 2 | Gastroenterology | 180 | New requirement | New Capability | LOW/NONE | General/Other | ⚠ High cost, not cancer-aligned — review priority
15 | Electric bed | 100 | Various department | 150 | New requirement | New Capability | MODERATE | Imaging (Shared)
16 | LASER | 1 | Dermatology OPD | 150 | New requirment | New Capability | LOW/NONE | General/Other | ⚠ High cost, not cancer-aligned — review priority
17 | Portable DR | 2 | Radiology | 120 |  | Other/Unspecified | LOW/NONE | General/Other | ⚠ High cost, not cancer-aligned — review priority
18 | Surgical microscope | 1 | Main OT | 100 | Morethan 10 years of usage | Other/Unspecified | LOW/NONE | General/Other | ⚠ High cost, not cancer-aligned — review priority
19 | Neuro monitoring system | 1 | Neuro OT | 100 | Replacement | Replacement (Failing) | MODERATE | General Clinical
20 | Alen spine table | 1 | Spine OT | 100 | New Requirement | New Capability | LOW/NONE | General/Other | ⚠ High cost, not cancer-aligned — review priority
21 | PET scan upgradation | 1 | Nuclear medicine | 100 | Upgrade | Upgrade | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
22 | Anesthesia machine | 3 | Main OT | 90 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
23 | Monitor | 15 | MDICU | 90 | New requirement | New Capability | MODERATE | General Clinical
24 | Thulium laser | 1 | Main OT | 75 | New requirement | New Capability | LOW/NONE | General/Other
25 | Ventilator | 3 | NSICU | 75 | New requirement | New Capability | MODERATE | General Clinical
26 | Pendent | 15 | MDICU | 75 | New requirement | New Capability | LOW/NONE | General/Other
27 | Portable ECHO | 2 | Cardiology OP | 70 | Frequent complaint | Replacement (Failing) | LOW/NONE | General/Other
28 | Dialysis machine | 8 | Nephrology | 68 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
29 | Thomsan retractor | 1 | Main OT | 60 | New requirement | New Capability | MODERATE | Imaging (Shared)
30 | OT Table Ortho | 1 | Ortho OT | 60 | New requirement | New Capability | LOW/NONE | General/Other
31 | Surgical Aspirator - CUSA | 1 | Neuro OT | 60 | Morethan 10 years of usage | Other/Unspecified | HIGH | Onco-Surgical | ✓ Strongly supports cancer/transplant program
32 | Total body densitometry system | 1 | Radiology | 60 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other
33 | WAB for ultrasound | 1 | Radiology | 60 | New requirement | New Capability | MODERATE | Imaging (Shared)
34 | Ortho Surgical instruments | 1 | Ortho OT | 50 | New requirement | New Capability | LOW/NONE | General/Other
35 | CRRT | 2 | Nephrology | 50 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
36 | Ventilator(Pead +adult) | 2 | SICU | 50 | New requirement | New Capability | MODERATE | General Clinical
37 | Ventilator | 2 | Neuro HDU | 50 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical
38 | Ventilator | 2 | LTICU | 50 | More than 10 years of usage,achived its life | End-of-Life Replacement | HIGH | BMT/Transplant | ✓ Strongly supports cancer/transplant program
39 | Cardiac workstation with TMT | 2 | Cardiology OP | 50 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other
40 | MR compactable monitor | 1 | Radiology | 50 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | MODERATE | General Clinical
41 | Anesthesia work station MRI | 1 | Radiology | 45 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | MODERATE | General Clinical
42 | IABP machine | 1 | Cardiac OT | 40 | Morethan 10 years of usage | Other/Unspecified | LOW/NONE | General/Other
43 | Midas rex drill console | 1 | Spine OT | 40 | New requirement | New Capability | LOW/NONE | General/Other
44 | Ultrasonic cleaner | 1 | CSSD | 40 | Replacement for old one | Replacement (Failing) | LOW/NONE | General/Other
45 | Dye Injector | 2 | Radiology | 40 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | MODERATE | Imaging (Shared)
46 | Workstation | 4 | Radiology | 40 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other
47 | Brachytherapy HDR Radioactive Source (Ir-192) | 4 | Radiotherapy | 40 | New requirement | New Capability | DIRECT | Direct Onco | ✓ Core to cancer transformation — must invest
48 | Incubator with portable ventilator | 1 | NICU | 35 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
49 | Nitric oxide system | 1 | CTOT | 35 | New requirement | New Capability | LOW/NONE | General/Other
50 | Electric drill | 1 | Neuro OT | 32 | Replacement | Replacement (Failing) | MODERATE | Imaging (Shared)
51 | Manometry | 1 | Gastroenterology | 32 | More than 10 years of usage | End-of-Life Replacement | LOW/NONE | General/Other
52 | OT Table | 2 | Main OT | 30 | Morethan 10 years of usage | Other/Unspecified | LOW/NONE | General/Other
53 | CO monitor | 1 | Main OT | 30 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
54 | Surgical instruments | 1 | Main OT | 30 | New requirement | New Capability | LOW/NONE | General/Other
55 | Anesthesia machine | 1 | Ortho OT | 30 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
56 | Fully Automated Rapid Bacterial Identification system | 1 | Microbiology | 30 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | Imaging (Shared)
57 | Multipara monitor | 6 | Neuro HDU | 30 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical
58 | Nasal endoscope | 1 | ENT | 30 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
59 | ERCP scope | 1 | Gastroenterology | 30 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other
60 | Bme tools and other Assets calibrattion | 1 | Biomedical | 30 | New requirement | New Capability | LOW/NONE | General/Other
61 | Microwave ablation system | 1 | Interventional Radiology | 28 | New requirement | New Capability | HIGH | Onco-Surgical | ✓ Strongly supports cancer/transplant program
62 | Pneumatic drill | 1 | Neuro OT | 25 | New Requirement | New Capability | LOW/NONE | General/Other
63 | Ultrasound machine | 1 | Nephrology | 25 | new requirement | New Capability | MODERATE | Imaging (Shared)
64 | Portable ultrasound machine | 1 | NSICU | 25 | New requirement | New Capability | MODERATE | Imaging (Shared)
65 | Ventilator | 1 | TICU | 25 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical
66 | Ventilator | 1 | ONCICU | 25 | New requirement | New Capability | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
67 | Ultrasound machine | 1 | LR | 25 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | Imaging (Shared)
68 | Microscope | 1 | ENT OPD | 25 | New requirment | New Capability | LOW/NONE | General/Other
69 | Ventilator | 1 | BMT | 25 | New Requirement | New Capability | HIGH | BMT/Transplant | ✓ Strongly supports cancer/transplant program
70 | Anesthesia Machine | 1 | Radiotherapy | 25 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
71 | Ultrasound machine | 1 | Radiotherapy | 25 | New Requirement | New Capability | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
72 | Video gastroscope (Adult) CFQ180AL | 1 | Gastroenterology | 25 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other
73 | Portable ultrasound machine | 1 | Radiology | 25 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | MODERATE | Imaging (Shared)
74 | Dye Injector MRI compitable | 1 | Radiology | 25 | New requirement | New Capability | MODERATE | Imaging (Shared)
75 | RF Ablation system | 1 | Radiology | 25 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | HIGH | Onco-Surgical | ✓ Strongly supports cancer/transplant program
76 | Portable ultrasound machine | 1 | Interventional Radiology | 25 | New requirement | New Capability | HIGH | Interventional | ✓ Strongly supports cancer/transplant program
77 | versajet Machine | 1 | Foot and Ankle | 25 | New requirement | New Capability | LOW/NONE | General/Other
78 | EGEMG | 1 | Neuroscience | 25 | New requirement | New Capability | LOW/NONE | General/Other
79 | Multipara monitor | 6 | OT Recovery | 24 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
80 | Coblator | 1 | Main OT | 20 | Morethan 10 years of usage | Other/Unspecified | LOW/NONE | General/Other
81 | Surgical diathermy - ligasure | 1 | Main OT | 20 | New requirement | New Capability | LOW/NONE | General/Other
82 | Multipara monitor | 4 | Ortho OT | 20 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
83 | Dye Injector | 1 | CATHLAB | 20 | Morethan 10 years of usage | Other/Unspecified | MODERATE | Imaging (Shared)
84 | Refrigerated Centrifuge | 2 | Blood Bank | 20 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
85 | Multipara monitor | 4 | ONCICU | 20 | New requirement | New Capability | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
86 | Multipara monitor | 4 | Gastroenterology | 20 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | MODERATE | General Clinical
87 | Dose calibrator | 2 | Nuclear medicine | 20 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
88 | Nasal endoscope 0 degree | 1 | ENT | 18 | New requirement | New Capability | LOW/NONE | General/Other
89 | T B analyser | 1 | Microbiology | 18 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
90 | Coablator console | 1 | ENT | 18 | New requirement | Other/Unspecified | LOW/NONE | General/Other
91 | Video colonoscope (Adult)GIFQ140 | 1 | Gastroenterology | 18 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other
92 | Uretero reno fiber Scope | 4 | Main OT | 16 | New requirement | New Capability | LOW/NONE | General/Other
93 | Deep Freezer -40 | 2 | Blood Bank | 16 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
94 | Dental chair | 4 | Dental OP | 16 | Frequent complaint | Replacement (Failing) | LOW/NONE | General/Other
95 | Neuro Navigation Surgical Instruments | 1 | Neuro OT | 15 | New Requirement | New Capability | LOW/NONE | General/Other
96 | Multipara monitor | 3 | Emergency | 15 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical
97 | Video gastroscope GIF-Q150 | 1 | Gastroenterology | 15 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other
98 | Video colonoscope CF-Q150L | 1 | Gastroenterology | 15 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other
99 | Patient trolley | 10 | Various department | 12.5 | New requirement | New Capability | LOW/NONE | General/Other
100 | ENT Surgical instruments | 1 | ENT | 12 | New requirement | New Capability | LOW/NONE | General/Other
101 | Portable ventilator | 1 | LTICU | 12 | More than 10 years of usage,achived its life | End-of-Life Replacement | HIGH | BMT/Transplant | ✓ Strongly supports cancer/transplant program
102 | Portable ventilator | 1 | Ambulance | 12 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical
103 | Portable ventilator | 1 | Ambulance | 12 | New requirement | New Capability | MODERATE | General Clinical
104 | Portable ventilator | 1 | Emergency | 12 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical
105 | Referal monitor | 4 | Gastroenterology | 12 | More than 10 years of usage | End-of-Life Replacement | MODERATE | General Clinical
106 | ECG machine | 6 | Various floors | 12 | New requirement | New Capability | LOW/NONE | General/Other
107 | Calibration and QA of various equipments | 1 | Biomedical | 12 | New requirement | New Capability | LOW/NONE | General/Other
108 | OBCU SCOPE | 1 | Endoscopy | 11.1 | New requirement | New Capability | LOW/NONE | General/Other
109 | Cold Room | 1 | Biochemistry | 10 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
110 | Multipara monitor | 2 | Ambulance | 10 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical
111 | Bed spare parts | 1 | Biomedical | 10 | New requirement | New Capability | LOW/NONE | General/Other
112 | Impulse oscillometry | 1 | Pulmanology | 10 | New requirement | New Capability | LOW/NONE | General/Other
113 | BIPAP | 5 | Pulmanology | 10 | New requirement | New Capability | LOW/NONE | General/Other
114 | Flexible cystoscope | 2 | Urology OPD | 9 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
115 | Examination couch | 10 | Various department | 8.5 | New requirement | New Capability | LOW/NONE | General/Other
116 | Lipo suction | 2 | Main OT | 8 | Morethan 10 years of usage | Other/Unspecified | MODERATE | Imaging (Shared)
117 | Surgical diathermy | 2 | Main OT | 8 | New requirement | New Capability | LOW/NONE | General/Other
118 | Helmet | 4 | Ortho OT | 8 | Replacement | Replacement (Failing) | LOW/NONE | General/Other
119 | Immuno fluorescence microscope with camera | 1 | Histopathology | 8 | Immunofluorescence microscopy is a sensitive and critical technique, and aging e | Other/Unspecified | HIGH | Pathology/Molecular | ✓ Strongly supports cancer/transplant program
120 | Deep freezer | 1 | Microbiology | 8 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
121 | Deep Freezer | 1 | Molecular biology | 8 | More than 10 years of usage, needs replacement | End-of-Life Replacement | HIGH | Pathology/Molecular | ✓ Strongly supports cancer/transplant program
122 | Reprocessor machine | 1 | Nephrology | 8 | Existing one not working , replacement raised against the same | Replacement (Failing) | LOW/NONE | General/Other
123 | Deep Freezer -80 | 1 | Blood Bank | 8 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
124 | Body warmer | 8 | MDICU | 8 | New requirement | New Capability | MODERATE | General Clinical
125 | Defibrillator | 2 | MDICU | 8 | New requirement | New Capability | MODERATE | General Clinical
126 | Syringe holder Tungston | 2 | Nuclear medicine | 8 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
127 | Consumables for various equipments | 1 | Biomedical | 8 | New requirement | New Capability | LOW/NONE | General/Other
128 | Head light | 1 | Main OT | 7 | New requirement | New Capability | LOW/NONE | General/Other
129 | Cold cabinet | 1 | Medical store | 7 | New Requirement | New Capability | LOW/NONE | General/Other
130 | Cyto centrifuge | 1 | Histopathology | 7 | Decreased Reliability: Loss of speed accuracy or issues with rotational balance | Other/Unspecified | DIRECT | Onco Diagnostics | ✓ Core to cancer transformation — must invest
131 | Blood Bank regrigerator 300L | 2 | Blood Bank | 7 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
132 | Blood Bank Refrigerator 600L | 2 | Blood Bank | 7 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
133 | Sterile Tubing Welder | 1 | Blood Bank | 7 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
134 | Biothesiometer | 1 | Diabetology OPD | 7 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
135 | Examination couch | 8 | Radiology | 6.8 | Replacement | Replacement (Failing) | LOW/NONE | General/Other
136 | Warm oxygen Therapy unit | 1 | Foot and Ankle | 6.5 | New requirement | New Capability | LOW/NONE | General/Other
137 | Platelet Agitator with Incubator | 2 | Blood Bank | 6 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
138 | Contamination monitor | 2 | Nuclear medicine | 6 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
139 | Reagent Refrigerator 600L | 1 | Blood Bank | 5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other
140 | Multipara monitor | 1 | TICU2 | 5 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical
141 | Multipara monitor | 1 | Ambulance | 5 | New requirement | New Capability | MODERATE | General Clinical
142 | Multipara monitor | 1 | Cosmetic surgery OPD | 5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical
143 | Hand held fundus camera | 1 | Opthal OPD | 5 | New requirement | New Capability | LOW/NONE | General/Other
144 | CPAP | 5 | Pulmanology | 5 | New requirement | New Capability | LOW/NONE | General/Other
145 | Tourniquett | 1 | Main OT | 4.5 | Morethan 10 years of usage | Other/Unspecified | LOW/NONE | General/Other
146 | Blood Collection Monitor | 1 | Blood Bank | 4.5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
147 | Syringe pump | 50 | MDICU | 4.5 | New requirement | New Capability | MODERATE | General Clinical
148 | Diathermy | 1 | LR | 4.5 | More than 10 years of usage,achived its life | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
149 | Surgical drilling Unit | 3 | Dental OP | 4.5 | More than 10 years of usage | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
150 | Birthing bed | 3 | LR | 4.2 | New requirement | New Capability | LOW/NONE | General/Other
151 | Defibrillator | 1 | Cardiac OT | 4 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
152 | Blood fluid warmer | 1 | Cardiac OT | 4 | Morethan 10 years of usage | Other/Unspecified | LOW/NONE | General/Other
153 | Under body warmer | 1 | Main OT | 4 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
154 | Defibrillator | 1 | OT Recovery | 4 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
155 | ACT machine | 1 | CATHLAB | 4 | Morethan 10 years of usage | Other/Unspecified | MODERATE | Imaging (Shared)
156 | Autoclave | 1 | Microbiology | 4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
157 | Densitometer | 1 | Microbiology | 4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
158 | Defibrillator | 1 | Nephrology | 4 | new requirement | New Capability | MODERATE | General Clinical
159 | Defibrillator | 1 | SICU | 4 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
160 | Defibrillator | 1 | NSICU | 4 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
161 | Defibrillator | 1 | ORICU | 4 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
162 | Defibrillator | 1 | SDICU | 4 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
163 | Defibrillator | 1 | Neuro HDU | 4 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
164 | Defibrillator | 1 | Emergency | 4 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
165 | ECG machine | 2 | Emergency | 4 | New requirement | New Capability | LOW/NONE | General/Other
166 | Defibrillator | 1 | 5TH Floor | 4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
167 | Defibrillator | 1 | 10TH Floor | 4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
168 | Cardiac trigger monitor | 1 | Radiology | 4 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
169 | Penumbra aspiration pump | 1 | Interventional Radiology | 4 | New requirement | New Capability | HIGH | Onco-Surgical | ✓ Strongly supports cancer/transplant program
170 | Reagent Refrigerator 165L | 1 | Blood Bank | 3.5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
171 | Portable monitor | 1 | ONCICU | 3.5 | New requirement | New Capability | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
172 | Portable monitor | 1 | LR | 3.5 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
173 | Debrider hand piece straight | 1 | ENT | 3.5 | Frequent complaints need replacement | Replacement (Failing) | LOW/NONE | General/Other
174 | Sealing machine | 1 | CATHLAB | 3 | Morethan 10 years of usage | Other/Unspecified | LOW/NONE | General/Other
175 | Portable monitor | 1 | ICCU | 3 | New requirement | New Capability | MODERATE | General Clinical
176 | PH meter | 1 | Histopathology | 3 | More than 10 years of usage, needs replacement | End-of-Life Replacement | HIGH | Pathology/Molecular | ✓ Strongly supports cancer/transplant program
177 | Elisa Reader | 1 | Microbiology | 3 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
178 | Elisa Washer | 1 | Microbiology | 3 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
179 | Component Extractor | 2 | Blood Bank | 3 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | Imaging (Shared) | Routine replacement — low risk
180 | Sealing Machine | 1 | CSSD | 3 | Replacement for old one | Replacement (Failing) | LOW/NONE | General/Other
181 | Massager | 1 | TICU | 3 | More than 10 years of usage,achived its life | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
182 | Examination light | 2 | Emergency | 3 | More than 10 years of usage,achived its life | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
183 | Drill system | 1 | Dental OP | 3 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
184 | Mini grasping wire insruments | 1 | Pulmanology | 3 | New requirement | New Capability | LOW/NONE | General/Other
185 | Video duodenoscope (Adult) TJF 160R | 1 | Gastroenterology | 2.8 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
186 | Laminar Air Flow | 1 | Molecular biology | 2.8 | More than 10 years of usage, needs replacement | End-of-Life Replacement | HIGH | Pathology/Molecular | ✓ Strongly supports cancer/transplant program
187 | Centrifuge | 1 | Microbiology | 2.5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
188 | Donor Couch | 1 | Blood Bank | 2.5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
189 | Infusion pump | 5 | LTICU | 2.5 | More than 10 years of usage,achived its life | End-of-Life Replacement | HIGH | BMT/Transplant | ✓ Strongly supports cancer/transplant program
190 | Syringe pump | 6 | SICU | 2.4 | More than 10 years of usage,achived its life | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
191 | Feeding pump | 3 | MDICU | 2.2 | New requirement | New Capability | LOW/NONE | General/Other
192 | Neo puff | 1 | NICU | 2 | Morethan 10 years of usage | Other/Unspecified | LOW/NONE | General/Other
193 | Centrifuge | 1 | Haematology | 2 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
194 | Centrifuge | 1 | Histopathology | 2 | More than 10 years of usage, needs replacement | End-of-Life Replacement | HIGH | Pathology/Molecular | ✓ Strongly supports cancer/transplant program
195 | Laminar air flow cabinet | 1 | Microbiology | 2 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
196 | Centrifuge | 1 | Molecular biology | 2 | More than 10 years of usage, needs replacement | End-of-Life Replacement | HIGH | Pathology/Molecular | ✓ Strongly supports cancer/transplant program
197 | Compo Scale | 2 | Blood Bank | 2 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
198 | Body warmer | 2 | SICU | 2 | New requirement | New Capability | MODERATE | General Clinical
199 | Body warmer | 2 | CSICU | 2 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
200 | Infusion pump | 4 | MDICU | 2 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
201 | Body warmer | 2 | TICU2 | 2 | New Requirement | New Capability | MODERATE | General Clinical
202 | Syringe pump | 5 | Neuro HDU | 2 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
203 | Infusion Pump | 4 | Ambulance | 2 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
204 | Printer and AMBAL software | 1 | Urology OPD | 2 | New requirement | New Capability | LOW/NONE | General/Other
205 | Biosafety cabinet | 1 | 5TH Floor | 2 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
206 | Lens meter | 1 | Opthal OPD | 2 | New requirement | New Capability | LOW/NONE | General/Other
207 | ECG machine | 1 | 4TH T2 | 2 | New requirement | New Capability | LOW/NONE | General/Other
208 | Implant micro motor | 1 | Dental OP | 2 | More than 10 years of usage | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
209 | Full body phototherapy | 1 | NICU | 2 | New requirement | New Capability | LOW/NONE | General/Other
210 | Barbyl suction | 1 | LR | 1.8 | New requirement | New Capability | MODERATE | Imaging (Shared)
211 | Syringe pump | 4 | ONCICU | 1.6 | New requirement | New Capability | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
212 | Syringe pump | 4 | LTICU | 1.6 | More than 10 years of usage,achived its life | End-of-Life Replacement | HIGH | BMT/Transplant | ✓ Strongly supports cancer/transplant program
213 | Syringe pump | 4 | Emergency | 1.6 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
214 | Fetal dopler | 1 | Gynac OPD | 1.5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
215 | Examination light | 3 | Gynac OPD | 1.5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
216 | ECG machine | 1 | 2ND FLOOR | 1.5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
217 | Radio surgery unit | 1 | Dermatology OPD | 1.3 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
218 | Suction | 2 | Ambulance | 1.2 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | Imaging (Shared) | Routine replacement — low risk
219 | Vascular doppler | 2 | Emergency | 1.2 | More than 10 years of usage,achived its life | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
220 | Body warmer | 1 | Cardiac OT | 1 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
221 | Hot air oven | 1 | Hematology/Clinical pathology | 1 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
222 | Hot Air Oven | 1 | Microbiology | 1 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
223 | Cyclomixer | 1 | Molecular biology | 1 | More than 10 years of usage, needs replacement | End-of-Life Replacement | HIGH | Pathology/Molecular | ✓ Strongly supports cancer/transplant program
224 | Incubator | 1 | CSSD | 1 | Replacement for old one | Replacement (Failing) | LOW/NONE | General/Other
225 | Body warmer | 1 | LTICU | 1 | More than 10 years of usage,achived its life | End-of-Life Replacement | HIGH | BMT/Transplant | ✓ Strongly supports cancer/transplant program
226 | Infusion pump | 2 | Ambulance | 1 | New requirement | New Capability | MODERATE | General Clinical
227 | Infusion pump | 2 | Emergency | 1 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
228 | Head light | 1 | ENT OPD | 1 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
229 | Electro surge 600SE | 1 | Dental OP | 1 | More than 10 years of usage | End-of-Life Replacement | MODERATE | Imaging (Shared) | Routine replacement — low risk
230 | Syringe sheild- Tungston | 1 | Nuclear medicine | 1 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
231 | Pocket dosimetry | 2 | Nuclear medicine | 1 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
232 | POBP machine | 1 | 4th main | 0.8 | New requirement | Other/Unspecified | LOW/NONE | General/Other
233 | Pulse oximeter | 1 | 2ND FLOOR | 0.8 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
234 | Pulse oximeter | 1 | 4THX | 0.8 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
235 | Pulse oximeter | 1 | 6TH Floor | 0.8 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
236 | Pulse oximeter | 1 | 10th Floor | 0.8 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
237 | Syringe pump | 2 | Ortho OT | 0.8 | Morethan 10 years of usage | Other/Unspecified | MODERATE | General Clinical
238 | Syringe Pump | 2 | Nephrology | 0.8 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
239 | Syringe pump | 2 | ORICU | 0.8 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
240 | Feeding pump | 1 | LTICU | 0.8 | New Requirement | New Capability | HIGH | BMT/Transplant | ✓ Strongly supports cancer/transplant program
241 | Syringe pump | 2 | Ambulance | 0.8 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
242 | Syringe pump | 2 | Ambulance | 0.8 | New requirement | New Capability | MODERATE | General Clinical
243 | Suction | 1 | Ambulance | 0.6 | New requirement | New Capability | MODERATE | Imaging (Shared)
244 | Breast Board for Patient Positioning | 1 | Radiotherapy | 0.6 | New requirement | New Capability | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
245 | Infusion pump | 1 | ORICU | 0.5 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
246 | Infusion pump | 1 | ONCICU | 0.5 | New requirement | New Capability | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
247 | Infusion pump | 1 | SDICU | 0.5 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
248 | Pulse oximeter | 1 | 7TH Floor | 0.5 | More than 10 years of usage, needs replacement | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
249 | P-5 booster | 1 | Dental OP | 0.5 | More than 10 years of usage | End-of-Life Replacement | LOW/NONE | General/Other | Routine replacement — low risk
250 | Infusion Pump | 1 | BMT | 0.5 | New Requirement | New Capability | HIGH | BMT/Transplant | ✓ Strongly supports cancer/transplant program
251 | Syringe pump | 1 | TICU2 | 0.4 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
252 | Portable suction | 2 | Emergency | 0.4 | More than 10 years of usage,achived its life | End-of-Life Replacement | MODERATE | Imaging (Shared) | Routine replacement — low risk
253 | Syringe pump | 1 | 2ND FLOOR | 0.4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
254 | Syringe pump | 1 | 3RD FLOOR | 0.4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
255 | Syringe pump | 1 | 3RD T2 | 0.4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
256 | Syringe pump | 1 | 4TH T2 | 0.4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
257 | Syringe pump | 1 | 5TH Floor | 0.4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
258 | Syringe pump | 1 | 6TH Floor | 0.4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
259 | Syringe pump | 1 | 10th Floor | 0.4 | More than 10 years of usage, needs replacement | End-of-Life Replacement | MODERATE | General Clinical | Routine replacement — low risk
260 | Syringe holder Lead | 1 | Nuclear medicine | 0.2 | More than 10 years of usage,achieved its life. | End-of-Life Replacement | DIRECT | Onco Location | ✓ Core to cancer transformation — must invest
261 | Otoscope | 1 | Emergency | 0.1 | New requirement | New Capability | LOW/NONE | General/Other
TOTAL

## Cancer Relevance Summary
Cancer & Complex Care Capex — Strategic Assessment
Cancer Relevance | Items | Total ₹ Cr | % of Biomedical | Key Items
DIRECT | 20 | 10.64 | 11.2 | Digital Microscope (₹300L); Digital Slide Scaneer (₹250L); Tomotherapy Equipment (₹230L)
HIGH | 21 | 13.62 | 14.3 | Biplane Cathlab (₹1100L); Surgical Aspirator - CUSA (₹60L); Ventilator (₹50L)
MODERATE | 93 | 25.67 | 26.9 | Digital X Ray (₹400L); Ventilator(Pead +adult) (₹250L); Intra opertive ultrasound mach (₹220L)
LOW/NONE | 127 | 45.4 | 47.6 | Spine robotic system (₹1200L); Fluroscopy (₹400L); Heart Lung Machine &Heart Lung (₹250L)
TOTAL | 261 | 95.34
DIRECT & HIGH Cancer-Relevance Items — Detail
# | Equipment | Location | Cost ₹L | Cancer Tag | Justification
1 | Biplane Cathlab | Interventional Radiology | 1100 | Interventional | New requirement
2 | Digital Microscope | Histopathology | 300 | Onco Diagnostics | New requirement
3 | Digital Slide Scaneer | Histopathology | 250 | Onco Diagnostics | New requirement
4 | Tomotherapy Equipment | Radiotherapy | 230 | Direct Onco | New requirement
5 | PET scan upgradation | Nuclear medicine | 100 | Onco Location | Upgrade
6 | Surgical Aspirator - CUSA | Neuro OT | 60 | Onco-Surgical | Morethan 10 years of usage
7 | Ventilator | LTICU | 50 | BMT/Transplant | More than 10 years of usage,achived its life
8 | Brachytherapy HDR Radioactive Source (Ir-192) | Radiotherapy | 40 | Direct Onco | New requirement
9 | Microwave ablation system | Interventional Radiology | 28 | Onco-Surgical | New requirement
10 | Ventilator | ONCICU | 25 | Onco Location | New requirement
11 | Ventilator | BMT | 25 | BMT/Transplant | New Requirement
12 | Anesthesia Machine | Radiotherapy | 25 | Onco Location | More than 10 years of usage,achieved its life.
13 | Ultrasound machine | Radiotherapy | 25 | Onco Location | New Requirement
14 | RF Ablation system | Radiology | 25 | Onco-Surgical | More than 10 years of usage,achieved its life.
15 | Portable ultrasound machine | Interventional Radiology | 25 | Interventional | New requirement
16 | Multipara monitor | ONCICU | 20 | Onco Location | New requirement
17 | Dose calibrator | Nuclear medicine | 20 | Onco Location | More than 10 years of usage,achieved its life.
18 | Portable ventilator | LTICU | 12 | BMT/Transplant | More than 10 years of usage,achived its life
19 | Immuno fluorescence microscope with camera | Histopathology | 8 | Pathology/Molecular | Immunofluorescence microscopy is a sensitive and critical te
20 | Deep Freezer | Molecular biology | 8 | Pathology/Molecular | More than 10 years of usage, needs replacement
21 | Syringe holder Tungston | Nuclear medicine | 8 | Onco Location | More than 10 years of usage,achieved its life.
22 | Cyto centrifuge | Histopathology | 7 | Onco Diagnostics | Decreased Reliability: Loss of speed accuracy or issues with
23 | Contamination monitor | Nuclear medicine | 6 | Onco Location | More than 10 years of usage,achieved its life.
24 | Penumbra aspiration pump | Interventional Radiology | 4 | Onco-Surgical | New requirement
25 | Portable monitor | ONCICU | 3.5 | Onco Location | New requirement
26 | PH meter | Histopathology | 3 | Pathology/Molecular | More than 10 years of usage, needs replacement
27 | Laminar Air Flow | Molecular biology | 2.8 | Pathology/Molecular | More than 10 years of usage, needs replacement
28 | Infusion pump | LTICU | 2.5 | BMT/Transplant | More than 10 years of usage,achived its life
29 | Centrifuge | Histopathology | 2 | Pathology/Molecular | More than 10 years of usage, needs replacement
30 | Centrifuge | Molecular biology | 2 | Pathology/Molecular | More than 10 years of usage, needs replacement
31 | Syringe pump | ONCICU | 1.6 | Onco Location | New requirement
32 | Syringe pump | LTICU | 1.6 | BMT/Transplant | More than 10 years of usage,achived its life
33 | Cyclomixer | Molecular biology | 1 | Pathology/Molecular | More than 10 years of usage, needs replacement
34 | Body warmer | LTICU | 1 | BMT/Transplant | More than 10 years of usage,achived its life
35 | Syringe sheild- Tungston | Nuclear medicine | 1 | Onco Location | More than 10 years of usage,achieved its life.
36 | Pocket dosimetry | Nuclear medicine | 1 | Onco Location | More than 10 years of usage,achieved its life.
37 | Feeding pump | LTICU | 0.8 | BMT/Transplant | New Requirement
38 | Breast Board for Patient Positioning | Radiotherapy | 0.6 | Onco Location | New requirement
39 | Infusion pump | ONCICU | 0.5 | Onco Location | New requirement
40 | Infusion Pump | BMT | 0.5 | BMT/Transplant | New Requirement
41 | Syringe holder Lead | Nuclear medicine | 0.2 | Onco Location | More than 10 years of usage,achieved its life.
TOTAL CANCER-ALIGNED |  |  | 2426.6

## Utility Classification
Biomedical Capex — By Utility/Justification
Utility Classification | Items | Total ₹ Cr | % of Biomedical | Top Items
New Capability | 89 | 59.22 | 62.1 | Spine robotic system (₹1200L); Biplane Cathlab (₹1100L); Digital Microscope (₹300L)
End-of-Life Replacement | 131 | 22.81 | 23.9 | Fluroscopy (₹400L); Digital X Ray (₹400L); Ultrasound machine (₹200L)
Replacement (Failing) | 11 | 2.88 | 3 | Neuro monitoring system (₹100L); Portable ECHO (₹70L); Ultrasonic cleaner (₹40L)
Upgrade | 1 | 1 | 1 | PET scan upgradation (₹100L)
Other/Unspecified | 29 | 9.42 | 9.9 | Heart Lung Machine &Heart (₹250L); Portable DR (₹120L); Surgical microscope (₹100L)
TOTAL | 261 | 95.34